RTT

  User's Guide

99 02 18

Copyright © 2009 SSAB Oxelösund AB

Permission is granted to copy, distribute and/or modify this document under the terms of the GNU Free Documentation License, Version 1.2 or any later version published by the Free Software Foundation; with no Invarian Sections, no Front-Cover Texts, and no Back-Cover Texts.

# Introduction

rt_rtt is a tool for troubleshooting a Proview system. It can also be used to a very simple HMI.

rt_rtt contains

- a tool to navigate in the plant and node hierchies of the database and show the values of the object attributes.
- a number of commands to show objects, crossreferences, logg attributes values, create/remove objects etc.
- possibility to execute scripts.
- a number of system pictures to show status for io devices, nethandler, grafcet sequences etc.
- an editor to build menues and pictures for operators and maintenance.
- A function keyboard for operator communication.

# Starting rt_rtt

rt_rtt is started with the command

$ rt_rtt

Eventuellt kan det finnas projektspecifika varianter av rtt som startas på annat sätt.

Vid starten visas en inloggnings bild där användaren ska ange ett 'username'. Ett antal olika username finns definierade med olika behörighet att påverka databasen.

## Argument

#### Argument 1
Username.

Inloggningsbilden kan elimineras om pwr_rtt startas med username som första argument.

Om man inte vill knyta rtt till näthanteraren, kan man lägga på prefixet ‘NONETH_’ till användarnamnet, t ex ‘NONETH_OP’

#### Argument 2
Rtt kommandofil.

Som andra argument kan anges en rtt kommandofil för att direkt navigera till en speciell bild eller för att skapa en dynamisk bild med intressanta databas-parameterar. Rtt behöver inte köras interaktivt vid start av med kommandofil, utan kan styras helt från sekvensen i kommandofilen.

#### Argument 3

Rtt konfigurations objekt (av kasset RttConfig). Om rtt ska användas som operatörsstation är de lämplig att ange ett speciellt konfigrurationsobjekt här, och specifiera automatisk laddning av larm mm.

#### Argument 4

Titeln i huvudmenyn.

## Navigation
Arrow keys	Navigate in the menu and select an item.
Return	Execute a function or display a child menu if there is one.
Ctrl/A or PF1	Execute some function if specified.
Ctrl/T or PF2	Execute some function if specified.
Ctrl/E or PF3	Set the value of the current item.
Ctrl/R or PF4	Go back to previous menu.
Page Down or Ctrl/F	Go to next page of the menu.
Page Up or Ctrl/D	Go to previous page of the menu.
Ctrl/Z	Back to root menu.
Ctrl/W	Redraw the picture.
Help	Help.
Delete	Delete an item in the menu.
Ctrl/B or DO	Command mode.
Ctrl/K	Acknowledge last alarm.
Ctrl/L	Show or hide description attribute.

# Database

Objekts hierarkin visar anläggnings och nod-hierarkin. Samtliga objekt på en nivå i trädet, dvs en syskon skara, visas på en bild. Om alla syskon ej får plats på en bild delas bilden up i flera sidor. Ett objekt kan öppnas och innehållet i objektets parametrar visas.

Om ett objekt har barn markeras detta med '*'.

Man navigerar i bilden mha piltangenterna och förflyttar sig ned i hierarkin med RETURN tangenten och upp med PF4. Utvalt objekt öppnas med PF1.

Om ett objekt innehåller ett ‘Description’-attribut kan man välja att skrivas ut i bilden, tillsammans med objektsnamnet. Detta görs genom att sätta rtt’s DescriptionOn parameter från (i RttConfigObjektet, från setup-bilden eller med CTRL/L).

Följade funktioner finns i objektshierarki bilden:

Arrow keys	Navigate in the menu and select an object.
Return	Display the children in the object hierarchy of the object.
Ctrl/A or PF1	Show the attributes of the object.
Ctrl/T or PF2	Debug the children of the object.
Ctrl/E or PF3	Set the value of a parameter.
Ctrl/R or PF4	Go back to previous menu.
Page Down or Ctrl/F	Go to next side of the menu.
Page Up or Ctrl/D	Go to previous side of the menu.
Ctrl/Z	Back to root menu.
Ctrl/W	Redraw the picture.
Help	Help.
Delete	Delete an item in the menu.
Ctrl/B or DO	Command mode.
Ctrl/K	Acknowledge last alarm.
Ctrl/L	Show or hide description attribute.
Ctrl/V	Insert selected object in collection picture.
Ctrl/N	Show collection picture.

## Visa objekt

Innehållet i ett objekt visas genom att välja ut objektet och trycka på PF1. De attribut som är relevanta visas (vissa pekare sorteras bort).

Ett attribut kan datasättas genom 'Change value' (PF3).

Attribut som är av typen vektorer markeras med en ‘*’. Dessa måste man öppna med PF1 för att se innehållet i.

Följande funktioner finns i objekts bilden.

Tangent	Funktion
PILTANGENTER	Välj ut en parameter.
PF1	Om innehållet i parametern är en referens till ett annat objekt visas innehållet i detta objekt.
PF3	Ändra värdet på en parameter.
PF4 el CTRL/R	Återvänd till föregående bild.
NEXT SIDE el CTRL/F	Visa nästa sida.
PREV SIDE el CTRL/D	Visa föregående sida.
CTRL/Z	Återvänd till rotmenyn.
HELP	Hjälp
DELETE	Ta bort ett meny entry.
DO el CTRL/B	Kommando mode.
CTRL/V	Lägg in utvald parameter i 'collection picture'.
CTRL/N	Visa 'collection picture'.
CTRL/K	Kvittera senaste okvitterade larm.

## Debug bild

I debug bilden visas värdet på debugattributet för alla barn till utvalt objekt. Om utvalt objekt endast har ett fönsterobjekt som barn visas barnen till fönsterobjektet istället, dvs plcpgm, csub, substep, trans objekt kan debuggas direkt. Orderobjekt kan däremot ha en del andra objekt som barn och i detta fall måste man välja ut det fönster man vill debugga.

Följande funktioner finns i debug bilden.

Tangent	Funktion
PILTANGENTER	Välj ut ett objekt.
RETURN	Visa nästa nivå i hierarkin (barnen till utvalt objekt).
PF1	Visa innehållet i utvalt objekt.
PF2	Debugga barnen till utvalt objekt.
PF3	Ändra värdet på debug attributet.
PF4 el CTRL/R	Återvänd till föregående bild.
NEXT PAGE el CTRL/F	Visa nästa sida.
PREV PAGE el CTRL/D	Visa föregående sida.
CTRL / Z	Återvänd till rotmenyn.
HELP	Hjälp
DELETE	Ta bort ett meny entry.
DO el CTRL/B	Kommando mode.
CTRL/V	Lägg in utvalt objekt i 'collection picture'.
CTRL/N	Visa 'collection picture'.
CTRL/K	Kvittera senaste okvitterade larm.

## Collection picture

Collection picture gör det möjlig att samla ihop ett antal intressanta objekt på en bild. Objekten letas upp i objektshierarkin och läggs in i 'collection picture' med CTRL/V. Om ett objekt utan specificerat
attribut är utvald läggs debugattributet in i bilden. Om en parameter i en objekts bild är utvald läggs detta attribut in i bilden.

Bilden visas upp med CTRL/N (eller kommandot 'show collection').

Bilden rensas med kommandot 'collect clear'. Enstaka objekt kan tas bort ur bilden med delete tangenten.

(Objekt kan även adderas till bilden med kommandot 'add debug' eller 'add parameter'.)

Följande funktioner finns i collection bilden.

Tangent	Funktion
PILTANGENTER	Välj ut ett objekt.
RETURN	Visa nästa nivå i hierarkin (barnen till utvalt objekt).
PF1	Visa innehållet i utvalt objekt.
PF2	Debugga barnen till utvalt objekt.
PF3	Ändra värdet på utvalt objekt.
PF4 el CTRL/R	Återvänd till föregående bild.
NEXT PAGE el CTRL/F	Visa nästa sida.
PREV PAGE el CTRL/D	Visa föregående sida.
CTRL/Z	Återvänd till rotmenyn.
HELP	Hjälp
DELETE	Ta bort ett objekt ur bilden.
DO el CTRL/B	Kommando mode.

# Alamlist

# Eventlist

# System bilder

Rtt innehåller ett antal bilder som visar information om systemet. Bilderna ligger under SYSTEM i menyn.

## SHOW SYSTEM
I ett ELN system visas samtliga job i systemet, samt div uppgifter t ex cpu tid för varje jobb. Ytterligare info om ett job erhålls genom att öppna jobbet med PF1. Då visas processer mm.
I ett VMS system visas processer som är relaterade till proview: PAMS, näthanterare, meddelandehanterare, plcprogram mm.

## PLCPGM
Bilden visar samtliga plcpgm som finns på noden och den beskrivning som ligger i plcpgm objektet. Med PF tangenterna kan man visa signaler som refereras i plcprogrammet (PF1) eller köra debug på plcprogrammet (PF2).

## GRAFCET
Grafcet bilden visar de plcpgm som innehåller grafcet sekvenser. Om grafcet sekvensen i plcprogrammet är aktiv, dvs om den inte är i sitt InitStep markeras detta genom att 'Active' skrivs ut före namnet på plcprogrammet i bilden.

PF1 visar signaler som refereras i plcprogrammet. Med PF2 startar man grafcet-monitorn som visar vilka steg och vilka order som är aktiva i ett plcpgm. Vill man studera flera grafcetsekvenser samtidigt kan man markera/avmarkera plcprogram med RETURN tangenten. De markerade programmen visas av grafcet-monitorn. Maximalt fyra plcprogram kan visas samtidigt. Är inget plcprogram markerat visas det utvalda programmet.
## DEVICE
Device visar samtliga kort på noden, samt felräknare och address på respektive kort.

Genom att välja ut ett kort och trycka på RETURN, visas kanalerna på kortet, samt aktuellt värde på kanalen, eventuella test, invertering och conversion flaggor. Vidare visas den signal som är knuten till kanalen. I bilden finns en ‘CngMode’ knapp med vilken man kan se ‘channel description’, ‘signal description’, eller ‘identity’ istället för kopplad signal.

Kanalbilden för Do och Ao kan sättas om i en speciell signaltest-mod genom att SignalTestModeOn-attributet sätts i setup-menyn. Denna mod gör det möjligt tvångsstyra värdet på analoga och digitala utgångar. Test-flaggan för en Do eller Ao-kanal sätts med PF2 och värdet på utgången ändras med PF1 (Do) eller PF3 (Ao). SignalTestModeOn måste sättas innan man tar upp bilden.

## WATCHDOG
Watchdog visar innehållet i watchdog objekt på noden.
Watchdog objekten övervakar bla plcprogrammet och kontrollerar att det går med rätt frekvens. Se PROVEW/R Object Reference Manual fär mer information.

## PID
PID visar samtliga PID-regulatorer på noden. För varje regulator visas objektsnamn (hierarkinivåer över plcprogrammet skalas bort), tvångsstyrning (ON/OFF), mode (Casc, Auto, Man), ärvärde, börvärde och utsignal.

## LOGGNING
Med loggningsbilden kan man logga attribut i databasen på en fil. Loggning på maximalt tio filer kan göras samtidigt.

Här följer en lathund:
- Samla ihop de attribut som ska loggas i collection bilden.
- Gå in i loggnings bilden. Om andra loggningar redan startats, välj ett ledigt entry med tangenterna 'Nästa' eller 'Föreg'.
- Mata in tid genom att välja ut 'Time' med piltangenteran och ändra värde med PF3. Tiden är i ms.
- Mata in filnamn. Om nodnr ej anges i filnamnet kommer filen att hamna på den node som är angiven i RttConfig objektet.
- Mata in typ av loggning under 'Type'. Typen kan vara 'Cont' elller 'Event'. Cont innebär att värden loggas kontinuerligt med angiven periodtid, Event innebär att värdena loggas när de ändrar värde.
- Välj ut 'INSERT' och tryck på PF1 för att lägga in de attribut som valts ut i collection bilden.
- Välj ut 'START' och tryck på PF1 för att starta loggningen. Att loggningen är startad markeras genom att texten '*** ACTIVE ***' blinkar i bilden.
- Stoppa loggningen genom att välja ut 'STOP' och trycka på PF1.
- Titta på loggfilen genom att välja ut ‘SHOW FILE’ och trycka på PF1.

För övriga parameterar se kapitlet Loggning och kommandot logging.

## NETHANDLER

Nethandler är en undermeny som innehåller bilder som visar info om näthanteraren.

## SHOW NODES

Bilden 'SHOW NODES' visar de noder som akutell nod har kontakt med.

Följande parameterar visas i bilden:

Parameter	Beskrivning
Name	Nodnamn
Group	Pams index
Nodeid	Proview nodindex
Link	Kan vara Down, Up, Istrt eller Local / Down Pamskontakt ej upprättad. / Up Kontakt mellan näthanterare etablerad. / Istrt Pamskontakt men ej kontakt med näthanterare. / Local Nod på vilken rtt körs
Time up	Tid då näthanteraren startades
Sent	Antal sända transaktioner
Rcvd	Antal mottagna transaktioner

## SHOW SUBCLIENT
Visar subscription client, dvs prenumerationer som aktuell node har begärt från andra noder. Observera här antalet okända prenumerationer, om denna är större än noll när samtliga noder i systemet är uppe betyder det att man lägger ut prenumeration på objekt som inte existerar.

## SHOW SUBSERVER
Visar subscription server, dvs prenumerationer som andra noder här begärt från akuell nod.

# Store

Under STORE i menyn visas lagrade collectionbilder och kommandofiler.

Gör så här:

- Samla ihop ett antal parameterar i databasen i collection picture.
- Gå in i collection picture och skriv kommandot	pwr_rtt> store sto1
eller	pwr_rtt> store/collect sto1
Collection bilden finns nu sparad under STO1.

Pss kan man spara bilder under valfritt namn. På VMS lagras och hämtas bilderna på den filkatalog man står på när man startar rtt. På ELN hämtas och lagras bilderna på rtt’s default-filkatalog.

# Loggning

Loggnings funktionen i rtt gör det möjligt att logga parameterar i rtdb på en fil.
Upp till tio loggfiler kan vara öppna samtidig och i varje loggfil kan hundra parametrar loggas. Initiering av loggningen görs genom att ge data till en loggtabell. Varje loggfil hanteras av ett entry i loggtabellen.
Ett entry hanteras från LOGGING-bilden. Med ‘nästa sida’ och ‘föregående sida’ skiftar man entry.

Man kan även hantera ett entry mha kommandon med 'logging create' kommandot och datasätts eller ändras med 'logging set' eller 'logging delete'.

Loggningen startas med 'logging start' som skapar en process som cykliskt övervakar parameterarna.

Om en conditionparameter har angivits sker enbart loggningen om condition parametern är true.

Loggningen kan vara av två typer, antingen loggas värdet av parametrarna kontinuerligt med en viss frekvens, eller loggas en parameter varje gång dess värdet ändras.

Om loggningen sker under en längre tid är det lämligt att starta och stoppa loggningen med en rtt kommandofil,
eftersom man då inte behöver köra rtt i interaktivt (se kommandofiler samt exempel 4 i appendix C). Rtt startas då upp med en kommandofil som parameter, varefter man kan logga ur ECL och låta rtt sköta sig själv.

## Kontinuerlig loggning
Värdet på parametrarna i entryt loggas vid varje cykel. På filen skrivs dessutom tiden sedan loggningen startades. Filen kan läsas in i t ex DECchart eller Excel för grafisk presentation. Appendix A innehåller en lathund för att använda DECchart.
## Händelse loggning

En parameter i entryt loggas om värdet på parametern har ändrats.
På loggfilen skrivs tiden för ändringen och det nya värdet.

## Prioritet
Prioriteten för loggningen kan påverkas i ELN, ej I VMS.

Loggningen sker default med samma prioritet som rtt, dvs 16. Om man vill undvika att tappa viktiga loggpunkter genom att loggningen inte kommer in vid rätt tidpunkt kan man öka prioriteten (lägre värde på priority). Detta kommer att medföra att loggningen sker med hög prioritet men när utskriften av data på fil startas återgår rtt till den ursprungliga prioriteten för att inte störa övriga högprioriterade program. Hur mycket som kan loggas innan utskrift på fil görs, bestämms av buffersize. En buffersize på 100 pages innebär att 100 * 512 = 51 200 tecken lagras internt. Vid utskrifen kommer rtt med stor sannoliket att missa en del loggpunkter. För att undvika detta kan man öka bufferstorleken så att hela loggningen för plats i den interna bufferten. Kontrollera först att det finns tillräckligt med dynamisk minne. Man kan även ange att loggningen automatiskt ska stoppa när bufferten är full.

# Kommandofiler i rtt

Rtt innehåller ett kommandofils-språk som används bl a för att lagra collection-picture och loggnings-entryn.

Man kan modifiera dessa filer en text-editor, eller skriva egna kommandoprocedurer t ex för att bygga upp olika test-fall.

## Skapa en kommandofil
En kommandofil består av kommentarsrader och kommandorader. Man kan även definiera symboler och utföra enklare arithmetik. Villkorlig exekvering och hopp är också möjlig. Se kapitlet ‘Script’ för en ingående presentation. Här visas hur man kan göra egna eller editera debug och collection-bilder.

Kommentarsraderna inleds med ett utropstecken i radens i fösta position på raden.

Kommandon för att hantera collection picture:

- collect clear
- collect /name='objektsnamn'
- show collect
- add debug /name='objektsnamn1' [/class= /hierarchy=]
- add parameter/parameter='parameter'/name='objektsnamn3' [/class= /hierarchy=]

Kommandon för att bygga en debugbild:

- debug /name='objektsnamn1' [/class= /hierarchy=]
- show parameter/name=...[/class= /hierarchy=]
- add debug /name='objektsnamn1' [/class= /hierarchy=]
- add parameter/parameter='parameter'/name='objektsnamn3' [/class= /hierarchy=]

En debugbild skapas med kommandona 'debug object' eller 'show parameter', och byggs på med kommandona 'add debug' och 'add parameter'.

Appendix C innehåller några exempel på kommandofiler.

## Exekvera en kommandofil
En kommandofil exekveras genom med ett '@' tecket följt av filnamnet. I en eln-nod krävs fullständigt filnamn med nod osv.

## Start av rtt med kommandofil
Rtt kan startas med en kommandofil som andra argument (första argumentet ska innehålla username). Man kan t ex skapa en symbol som direkt startar rtt i en viss bild eller med fylld collection bild.

Exempel pwr_rtt_test == "$ssab_exe:rs_rtt sys templogg"

Kommando filen templog.rtt_com exekveras direkt vid uppstart av rtt.

För att starta från ECL skickar man med argument på följande sätt

ECL> ex/w rs_rtt /arg=(sys,3.98::test)

Om man har en kommando fil som inte kräver något ingrepp från operatören, dvs avslutas med exit eller quit (se exempel 4 i appendix C), kan man starta rtt från ECL med execute utan /wait och sedan logga ur ECL

ECL> ex rs_rtt /arg=(sys,3.9::test)
# Konfigurering av rtt

## Konfigureringsobjekt
Konfigureringsobjektet kan användas för att förenkla vissa kommandon. Objektet ska vara av klassen RttConfig (under klasshierarkin SSAB) och läggs som barn till aktuell nod.

### DefaultVMSNode

Nodnummer för den VMS nod som default öppnar filer på. En ELN nod innehåller normalt inte några diskar och för att öppna en fil krävs det att man anger nodnummer. Här kan man ange ett nodnummer som kommer att användas om inte något annat anges. Används av alla funktioner som innehåller en /file kvalifierare: show signals, crossreference, store, logging, alarm print, samt vid exekvering av kommandofiler.

Syntax 'areanummer'.'nodnummer'::
Ex 3.9::

### UserObject
Objekt av klassen User.
Här kan ett User objekt kopplas till en rtt operatörsstation.
Se "Konfigurering av larmlista" nedan.

### AlarmAutoLoad
Anger om händelselistan ska laddas vid start av rtt.
Om AlarmAutoLoad är 0 kommer händelselistan att laddas när larmlista eller händelselistan visas första gången.

### AlarmMessage

Anger om senaste okvitterade larm ska visas på meddelanderaden (rad 24 i terminalfönstret). Larmlistan
måste vara laddad för att larmen ska kunna visas.

### AlarmBeep
Anger om förekomsten av okvitterade larm ska ge upphov till ljudsignal eller ej.

### AlarmReturn
Anger att händelselistan ska innehålla händelsen när ett larmtillstånd återställs (endast vid AlarmAutoLoad).

### AlarmAck
Anger att händelselistan ska innehålla larmkvittenser (endast vid AlarmAutoLoad).
### DescriptionOff
Anger att description-attributet inte ska visas i objekts-hierarkin.
### DefaultDirectory
Default filkatalog för rtt. Om ingen annan filkatalog anges vid specifikation av filer vid t ex store, show file, symbolfil, exekvering av kommandofiler mm, kommer filen att skapas resp hämtas från den defaulta filkatalogen.
### SymbolFileName
Symboler för t ex kortkommandon kan laddas in vid start av rtt mha en symbolfil. Här anges namnet på den symbolfil som ska laddas.
### ScanTime
Scantiden för rtt. Scantiden bestämmer bl a uppdateringsfrekvensen i bilder. Minimumvärde 1 s.

## Konfigurering av larmlista
För att man ska kunna ta upp larm och händelselista i rtt krävs att det finns ett objekt med namnet RttUser av klassen User som barn till nodobjektet till den nod på vilken rtt körs.
Det är lämpligt att skapa dessa objekt på samtliga noder i systemet. I objektet ska attributen OpNumber, MaxNoOfAlarms, MaxNoOfEvents och SelectList fyllas i.

Alternativt kan man i RttConfig objektet ange ett userobjekt med annat namn.

I RttConfig objektet sätts lämpliga data på attributen AlarmAutoLoad, AlarmMessage, AlarmBeep, AlarmReturn och AlarmAck.
## Tolkning av transbuffrar
I remtrans-bilden kan man se transbuffrarna för respektive remtrans i form av en c-struct. Detta kräver att den struct-namnet och den fil där structen finns definierad läggs in i remtrans-objektet (attributen StructName resp StructFile). Se kommandot ‘show object /type’ för de begränsningar som gäller vid tolkning av c-structar.
## Distribution av filer till processtationer
Distribution av filer från utvecklingsmiljön till process- och operatörsstationer konfigureras i projektvolymen. Följande filer har anknytning till rtt.

- Lagrade samlingsbilder, kommandofiler och eventuell symbolfil distribueras mha ett ApplDistr-objekt. Kopiera samtliga filer genom att använda wildcard i source-fil specifikationen (*.rtt_com).
- exe-filer som inte byggs med i systemfilen distribueras med ett ApplDistribute. Om ett projektspecifikt rtt-program ska kunna startas från servicemenyn i en operatörs- eller processtation ska den döpas om till pwrp_exe:rs_rtt.exe i operatörs/process-stationen. Detta åstadkomms genom att ange rs_rtt.exe som target i ApplDistribute objektet.
- Korsreferensfiler för rtt (som skapas från Utilities med ‘create rttfiles’) distribueras tillsammans med laddatafiler till den boot-nod som angivits i NodeConfig-objektet.
- Include-filer som används för tolkning av transbufferar i ‘Show remtrans’ bilden ska distribueras med ett $ApplDistribute-objekt. Till ELN-noder ska de kopieras till disk$sys:<sys0.sysexe>.

## Symbolfil
Man kan definiera symboler i rtt t ex för att använda som kortkommandon till bilder eller objekts-hierarkier. En symbol som skapas i rtt lever endast under den aktuella rtt-sessionen. Om man vill bevara symbolerna måste man lagra dem i en symbolfil. Namnet på symbolfilen anges i RttConfig-objektet. Symbolfilen läses in vid uppstart av rtt och är av rtt-script format, dvs bör ha filtyp .rtt_com.
Man kan skapa en symbolfil på två sätt:
- Definiera lämpliga symboler från rtt’s kommando-prompt, kontrollera dem med kommandot ‘show symbols’, och lagra dem med kommandot ‘store /symbols’.
- Editera symbolfilen och lägg in lämpliga kommandon. Se exempel nedan.

Symbolfilen kan även innehålla andra setup-kommandon, t ex navigera till en bild eller objekts-hierarki vid uppstart. Följande kommando i symbolfilen kommer att visa upp bilden ‘underhåll-motorer’. Observera att den här typen av kommandon förloras om man använder kommandot ‘store /symbols’.

show menu underhåll-motorer

Exempel på symbolfil

define FREKVENSOMRIKTARE "SHOW MENU UNDERHÅLL-FREKVENSOMRIKTARE"
define PLÅTFÖLJNING "SHOW MENU UNDERHÅLL-PLÅTFÖLJNING"
define HYDRAULIK "SHOW MENU \"UNDERHÅLL-HYDRAULIK PV15\""
define VKVP15 "SHOW MENU \"UNDERHÅLL-VKVP15 KOMMUNIKATION\""
define GIVARE "SHOW MENU UNDERHÅLL-GIVARE"
define SEKTIONSOBJEKT "SHOW MENU \"UNDERHÅLL-SEKTIONS OBJEKT\""
define GIVAROBJEKT "SHOW MENU \"UNDERHÅLL-GIVARE OBJEKT\""
define END "SHOW CHILD/NAME=VKV-END"
define SB15 "SHOW CHILD/NAME=VKV-END-SB15"
define S0 "SHOW CHILD/NAME=VKV-END-SB15-S0"
define S1 "SHOW CHILD/NAME=VKV-END-SB15-S1"
define S2 "SHOW CHILD/NAME=VKV-END-SB15-S2"
define S3 "SHOW CHILD/NAME=VKV-END-SB15-S3"

Följande exempel innehåller ett script som automatisk definierar kortkommandon till samtliga $Planthier-objekt.

main()
  string name;
  string segment_name;

  name = GetClassList("$PlantHier");
  while ( nname != "")
    segment_name = CutObjectName(name, 1);
    define 'segment_name' "show child/name='name'"
    nname = GetNextObject(name);
  endwhile
endmain
# Skapa menyer
Menyer av permanent karaktär kan skapas med rtt-editorn pwr_rtt_edit. Men man kan även skapa menyer av mer dynamisk karaktär med kommandona ‘create menu’ och ‘add menu’. Med dessa kommandon kan man t ex bygga menyer som väljer ut vissa objekt ur databasen. Här visas ett exempel på ett script som väljer ut plåt-objekt i längdintervallet 10 - 15 m.

string name;
string attr;
float langd;
int first

name = GetChild("VKV-Plåtar");
first = 1;
while ( name != "")
  if ( GetObjectClass(name) == "END_Plat")
    attr = nname + "Langd";
    langd = GetAttribute( attr);
    if ( langd >= 10 && langd < 15)
      if ( first)
        create menu/title="Plåtar 10-15 m"/text="'name'"/obj="'name'"
      else
        add menu/text="'name'"/object="'name'"
      endif
    endif
    first = 0;
  endif
  name = GetNextSibling(name);
endwhile

# Learn

Learn funktionen gör det möjlig att lagra en sekvens av tangenttryckningar och kommandon. Lagringen sker på en kommandofil med format beskrivet ovan.

Starta learn funktionen med kommandot

pwr_rtt> learn start/file='filnamn'

Filnamn måste vara en fullständig filspecifikation (måste innehålla node i eln, tex /file=3.9::test).

Fortsätt med att mata in önskad sekvens av tangentryckningar och rtt kommandon. Det är lämpligt att börja med ctrl/z för att definiera startpunkten för sekvensen. Man kan sätta värden på parameterar med 'set value' funktionen (pf3).

Avsluta learn sessionen med

pwr_rtt> learn stop

Upprepa den lagrade sekvensen med

pwr_rtt> @'filnamn'
# Korsreferenser
Rtt kan visa korsreferenser, dvs de ställen i plc-koden där referenser till signaler eller andra objekt förekommer. Man kan även söka efter referenser i de objekt av typen arithm som innehåller kod.
Korsreferenser visas med komandot ‘crossreference’.

Information om korsreferenser finns inte i runtime utan måste genereras från utvecklingsmiljön. Detta görs med pwr_cmd-kommandot ‘create rttfiles’. Referens-informationen läggs i fyra filer för varje volym: pwrp_load:rtt_crr_’volymsid’.dat, pwrp_load:rtt_crro_’volymsid’.dat, pwrp_load:rtt_crrc_’volymsid’.dat och pwrp_load:rtt_plc_’volymsid’.dat. Dessa distribueras tillsammans med laddatafiler till bootnoden av distributören vid ‘copy load’.
## Signaler
Korsreferenser för signaler innebär att alla referenser i plc-program med GetDi, GetDo, GetDo, GetAi, GetAo, GetAv, GetPi, StoDi, StoPi, StoDo, StoDv, StoAi, StoAo, StoAv, CStoAi, CStoAv och CStoAo, listas. Om referensen är skrivande (dvs StoXx eller CStoXx) markeras detta med ‘#’ i korsreferenslistan.
## Övriga objekt
Korsreferenser på objekt som inte är signaler innebär referenser i plc-program med GetData, GetDp, GetAp, StoDp, StoAp och CStoAp. Interna kopplingar mellan objekt i ett plc-program som görs med ‘connections’ tas ej med i korsreferenslistan. Om referensen är skrivande (dvs StoXx eller CStoXx) markeras detta med ‘#’ i korsreferenslistan. Om referensen är en pekar-referens (GetData) markeras detta med ‘&’.
## Arithm-kod
Objekten CArithm, DataArithm, AArithm och DArithm innehåller c-kod i vilken man bl a kan göra funktionsanrop till funktioner som länkats med plc-programmet. Med crossreferens-kommandot kan man leta efter de arithm-objekt där en viss c-funktion anropas. Det sker med kommandot

pwr_rtt> crossref /function=

Resultatet blir en lista på de arithm-objekt där funktionen förekommer, samt en utskrift av de rader i koden där anropet görs. Kommandot gör en sökning i koden efter funktionsnamnet.

Sökning på en valfri sträng i arithm-koden kan också göras med /string. Skillnaden mellan /function och /string är att strängen i /funktion måste vara avgränsad med andra tecken än alfabetiska, numiska eller ‘_’ (underscore), medan /string inte ställer några krav på avgränsning.

pwr_rtt> crossref /string=

# Commands

The command input field is opened with Ctrl+B.

# add

This command adds objects to the current picture.
Allowed qualifiers are:

pwr_rtt> add debug /name=nnn /class=ccc / hierarchy=
pwr_rtt> add parameter/parameter= /name= /class= /hierarchy=

## add parameter

This command adds objects to the current picture, and displays the value of the parameter of the objects.
Object that fits in the class, name and hierarchy description are displayed on the screen.

pwr_rtt> add parameter /parameter= /name= /class= /hierarchy=

/parameter=	the name of the parameter to be displayed
/name=	the name of the object. Wildcard is allowed.
The name can be written without '/name='. Ex show object *di*
/class=	displays objects of this class
/hierarchy=	displays objects below this object in the hierarchy.
If no object is given the hierarchy of the current picture
is default (show object /hierarchy).

## add debug

This command adds objects to the current picture, and displays the value of the debug parameter of the objects.
Object that fits in the class, name and hierarchy description are displayed on the screen. Only objects with a defined debugparameter is displayed.

pwr_rtt> debug object /name= /class= /hierarchy= /global

/name=	the name of the object. Wildcard is allowed.
The name can be written without '/name='. Ex show object *di*
/class=	displays objects of this class
/hierarchy=	displays objects below this object in the hierarchy.
If no object is given the hierarchy of the current picture
is default (show object /hierarchy).
/global	Search is also perfomed in mounted volumes of remote nodes.
## add menu

Add a menu item to a menu.
A limited selection of meny items types is supported.
Syntax:

pwr_rtt> add menu /text= [/object=] [/command=]

/text	Text of the menu item
/object	Name of object an object. The menuitem will have the
characteristics of an object. pf1 will open the object, return
will show the children and pf2 will debug the children.
/command	The menu item is of type rtt command. The rtt-command that
will be executed if pf1 is activated should be added.
Example

Create a menu item of type menu
pwr_rtt> add menu/text=”SubMenu”

Create a menu item of type object
pwr_rtt> add menu/text=”SomeObj”/obj=Motor-Enable

Create a menu item of type command
pwr_rtt> add menu/text=”SomeCmd”/command=@mycmd
# alarm

Send an alarm, show the alamlist, show or print the eventlist.
## alarm send
Send an alarm with the specified alarm text and alarm priority.

pwr_rtt> alarm send /text=\"...\" /priority=

/priority can be A,B,C or D (default A).
## alarm print
Print the eventlist on a file.

pwr_rtt> alarm print/file= [/notext] [/noname]

The alarmlist has to be loaded before alarm print. The alarmlist will be loaded when the alarm or eventlist is entered.
## alarm show
Show the alarmlist.

pwr_rtt> alarm show [/user=][/acknowledge][/return][/bell][/maxalarm=]
[/maxevent=]
## alarm list
Show eventlist.

pwr_rtt> alarm list [/user=][/acknowledge][/return][/bell][/maxalarm=]
[/maxevent=]\

# class

Show the class definition.

#### /name
A class name.

#### /volume
Shows all classes in the specified class volume.collect

Handles the collection picture.
# collect
## collect
Add the selected object to the collection picture.
If the object is collected from a hierarchy menu, the debugparameter will be displayed, if a parameter is collected in a 'show object' menu the selected parameter will be displayed.

pwr_rtt> collect /name=

/name	The object name kan include the parametername, otherwise the debug parameter is
collected.
## collect clear
Clear the collection picture. The collection picture has to be active.

pwr_rtt> clollect clear
## collect show
Show the collection picture, i.e. attributes collected by the collect function (accelerator Ctrl+N).

pwr_rtt> collect show

# create
## create object

Create an object.
Objects can only be created in dynamic volumes.

Syntax:

pwr_rtt> create object /name= /class=

/name	name of the object including hierarchy
/class	class of the object
Example
pwr_rtt> create object /name=Noder-Noden-RttUser /class=User

## create menu

Create a new menu with one menu item. More items kan be added with the command
'add menu'. A limited selection of meny items types is supported.

Syntax:
pwr_rtt> create menu /title= /text= [/object=] [/command=]

/title	Title of the menu
/text	Text of the menu item
/object	Name of object an object. The menuitem will have the
characteristics of an object. pf1 will open the object, return
will show the children and pf2 will debug the children.
/command	The menu item is of type rtt command. The rtt-command that
will be executed if pf1 is activated should be added.
Example
  pwr_rtt> create menu /title=\"My menu\" /text=\"More menues\"
  pwr_rtt> create menu /title=\"Some objects\" /text=\"Obj1\"	/object=rt-obj1
  pwr_rtt> create menu /title=\"Cmd menu\" /text=\"cmd1\"	/command=@cmd1

# crossreference

Crossreference shows where a signal or object is referred in the plc code by objects as GetDp, StoDp, GetData etc. The crossreference function can also search for strings, e.g. functions and classes, in the code of Arithm objects. The crossreference information has to be generated in the development environment, by the command 'create cross' or by setting the option Crossreferens in the configuration setup.

pwr_rtt> crossreference

/file	Name of the crossreference file. Optional.
/name	Signal or object to show crossreferences for. Wildcard is allowed. Default the selected	object.

/function	Name of a function, class or attribute that is used in the code in AArithm, DArithm,	CArithm or DataArithm. The difference between /function and /string is that /string	allows all characters as delimiters, when /function only allows digits or letters.

pwr_rtt> crossreference /function= [/brief]	[/case_sensitive]

/brief	Used at search in Arithm objects. /brief only shows one row of code or each arithm	object.

/case_sensitive	Used at search in Arithm objects. Specifies that the search is case	sensitive. When case sensitive is used, the function or search string	should be surrounde by quotes.

Example

pwr_rtt> cross /function=”MyFunc” /case_sensitive

Search for a string in AArithm, DArithm, CArithm or DataArithm code.
pwr_rtt> crossreference /string= [/brief] [/case_sensitive]

/string	Search for a string in Arithm object code.

# debug

Display the value of the debug parameter of one or many objects.

pwr_rtt> debug object /name= /class= /hierarchy =
pwr_rtt> debug children /name=
pwr_rtt> debug signals /name=

## debug signals

Display the signals and the value of the signalsreferenced in a plcpgm
or a window.
Allowed qualifiers are:

pwr_rtt> debug signals /name= /file=

/name	the name of a plcpgm or a window object. Wildcard is allowed.
If the object is a plcpgm all the signals in the plcpgm are
displayed, if a window all the signals in the window are
displayed.
Default value is the selected object.
/file	Name of the listfile of the plcmodule list.
Default pwrp_lis:pwrp_plcmodulelist.plis.
Example
pwr_rtt> debug signals

## debug objects

Display the value of the debug parameter of one or many objects
Object that fits in the class, name and hierarchy description are displayed
on the screen. Only objects with a defined debugparameter is displayed.

pwr_rtt> debug object /name= /class= /hierarchy= /global

/name=	the name of the object. Wildcard is allowed.
The name can be written without '/name='. Ex debug object *di*
/class=	displays objects of this class
/hierarchy=	displays objects below this object in the hierarchy.
If no object is given the hierarchy of the current picture
is default (show object /hierarchy).
/global	Search is also perfomed in mounted volumes of remote nodes.

## debug children

Display the value of the debug parameter of the children of an object.
Only objects with a defined debugparameter is displayed.

pwr_rtt> debug children /name=

/name=	the name of the object.
The name can be written without '/name='.
# define

Define symbols and assign values to symbols.
The symbol can have an integer, float or string value.

## System symbols

There are a number of symbols defined by the system.

rtt_os	Current operating system.
rtt_platform	Current platform.
rtt_time	Current time.

## Value assignment
The assigned value can be an integer, float or string.

Examples
Float assignment

define num 3.22
define num 3.22e-12

Integer assignment

define i 0

String assignment

define some_str "This is a string"

Assignment of the value of another symbol

define a1 'a2'

Concatenate two string symbols

define a1 "MOTOR"
define a2 " START"
define a3 ‘a’’a2’

sho sym a3
%RTT-I-MSG, Symbol a3 = MOTOR START
## Fetch attribute values from the database

You can fetch an attribute value from the database by writing # before the attribute name and surround the name with apostrophes.

Example

define a '#rt-rtt-vax_vms-dv1.actualvalue'
sho sym a
%RTT-I-MSG, Symbol a = 0

if '#rt-rtt-vax_vms-dv1.actualvalue' eq 0
  say/text="Dv1 is 0"
endif

# delete
## delete object

Delete an object.
Only objects in dynamic volumes can be deleted.

Note that the current database view is not updated with removed objects. The object hierarchy has to be closed and opened again to show the new view.

pwr_rtt> delete object /name=

/name	name of the object including hierarchy

Example
pwr_rtt> delete object /name=N2-UGN-PLÅTAR-Mtrl1
# directory

Display files. Wildcard can be used.
If no file or directory is specified, the files in the current default directory will be displayed.

pwr_rtt> directory 'filespec'

# exit

Terminate rtt.

# help
Show helptexts.

If the command is given without parameter, a list of available helptexts are displayed. By selecting a subject an pressing Return the text for the subject is shown.

pwr_rtt> help

pwr_rtt> help ‘subject’
# learn

Learn makes it possible to store a command and key sequence. The key sequence is stored in a command file of type rtt_com. The sequence is repeted by executing the stored command file.

pwr_rtt> learn start /file=
pwr_rtt> learn stop

Example

pwr_rtt> learn start /file=motorstart
...
A command and key sequence.
...
pwr_rtt> learn stop

pwr_rtt> @motorstart

## learn start
Start the learn session.
The following commands are stored in the specified file.

/file	Name of command file where the commands are stored.

Example
pwr_rtt> learn start /file=dosering

## learn stop
Terminates the learn session.

# logging

The logging function makes it possible to logg database attributes to a file. There are two types of logging, continous logging where the values are stored with a specifiec frequency, and event logging where a value is stored when it is changed.

pwr_rtt> logging create /insert/time= /parameter= /file= /condition=	/type= /buffer_size=
pwr_rtt> logging set /insert /entry= /time= /parameter= /file=	/condition /type= /buffer_size=
pwr_rtt> logging delete /entry= /parameter=
pwr_rtt> logging start /entry=
pwr_rtt> logging stop /entry=
pwr_rtt> logging show /entry=

Example
The attributes to logg are first collected to the collection list. The 'logging create/insert' inserts the attributes of the collection list to the current logging entry.

pwr_rtt>logging create /insert/file=3.9::test.dat
pwr_rtt>logging start /entry=1
pwr_rtt>logging stop /entry=1

## logging create
Create an entry in the logg table. One entry keeps information on logging on one loggfile. 10 entries can exist simultaneously. The 'logging create' command supplies an entry number that is specified in the following commands regarding the logging.

/insert	Inserts the current attributes in the collection list into the logging entry.
/time	Cycletime in ms
/file	File specification for the file where the logging is stored.
/parameter	Name of attribute that is to be logged.
/condition	Name of an attribute of type boolean for conditional logging. The logging in only	performed when the conditions attributes is true.
/type	Logging type. Continous is the default type.

- EVENT	when an attribute value is changed, the time and new value is written to the logfile.
- CONTINOUS the value of all attributes in the entry are written every cycle if the condition attributes is true.

/buffer_size Before the logging is written to file it is store in a buffer in the memory, and when the	buffer is full, it is written to file. The buffersize can be increased when logging fast and t	ime critical sequences to avoid interruption when the write is preformed.
/priority	Priority during the logging.
/intern	When the buffer is emptied, the logging is terminated.

## logging set
Set or modify properties of a logging entry.

/insert	Inserts the current attributes in the collection list into the logging entry.
/time	Cycletime in ms
/file	File specification for the file where the logging is stored.
/parameter	Name of attribute that is to be logged.
/condition	Name of an attribute of type boolean for conditional logging. The logging in only	performed when the conditions attributes is true.
/type	Logging type. Continous is the default type.

- EVENT	when an attribute value is changed, the time and new value is written to the logfile.
- CONTINOUS the value of all attributes in the entry are written every cycle if the condition attributes is true.

/buffer_size Before the logging is written to file it is store in a buffer in the memory, and when the	buffer is full, it is written to file. The buffersize can be increased when logging fast and t	ime critical sequences to avoid interruption when the write is preformed.
/priority	Priority during the logging.
/intern	When the buffer is emptied, the logging is terminated.

## logging delete

Remove an entry in the logging table, or an attribute in an entry. If /parameter is omitted, the entry is removed.

/entry	Entry number.
/parameter	Attrbute that is to be removed from the entry.

## logging start
Start the logging for the specified entry.

/entry	Entry number.

## logging stop

Stop the logging for the specified entry.

/entry	Entry number.
## logging store

Store the properties of a logging entry, or of all logging entries to a rtt commandfile.
The logging etries can be restored by executing the commandfile.

pwr_rtt> logging store /entry=1/file=temperature_logg

/entry	Entry to be stored. By default the currently displayed entry.
/file	Name of the commandfile where the entry are stored.
/all	Store all logging entries in the commandfile.

## logging show

Show the properties for a logging entry.

/entry	Entry number.

# login

Login as a Proview user with username and password.
The login command will open the login frame which promps for username and password.

pwr_rtt> login
# page

Show the specified page.

pwr_rtt> page 'pagenumber'
# monitor grafcet

Display the active steps and orders of a grafcet sequence.
Select a PlcPgm object that contains a grafcet sequence. The name of the active steps and orders will be displayed continously. The monitor can also be started from the 'SHOW GRAFCET' picture.

pwr_rtt> monitor grafcet

# plcscan

This command set the execution of the plc window on or off.
If no hierarchy object i given, the selected object is chosen as hierarchy object.

pwr_rtt> plcscan /on [/hierarchy=] [/all]
pwr_rtt> plcscan /off [/hierarchy=] [/all]

/on	set execution on
/off	set execution off
/all	set execution of all plc windows in the system or in the node
/hierarchy=	set execution of all windows below this object in
the hierarchy.
If no object is given the hierarchy of the current picture
is default (show object /hierarchy).
/global	Search is also perfomed in mounted volumes of remote nodes.
# print

Print the current picture to a file or printer:
- print the content of a picture or menu to a file.
- print a string into file.
- print a copy of the terminal to a printer.
- print the attributes and values of the current picture toa rtt script-file
    so that the values can be restored when executing the script.

Print the content of the current picture or menu into a file.

pwr_rtt> print /file= /append /psize= /tsize=

/file	filename. Default extention is .lis
/append	write in an existing file.
/psize	number of characters for parameter name. Default 25
/tsize	number of characters the text. Default 15

Print a copy of the terminal to a printer.

pwr_rtt> print /terminal

Print a string to a file.

pwr_rtt> print /text= /append

Print the attribues and values of the curren picture to a rtt script-file, so that the values can be restored when executing the script

pwr_rtt> print /restore /file=

/file	filename. Default extention is .rtt_com

# say

Write a text in the terminal window.

/text	Text to write.

Example

say /text="Now I'm writing a text in the terminal window"

# search

Search for a string in the current picture.
The search starts from the selected object and the search direction is forward. If no searchstring is specified the last specified searchstring is used.

pwr_rtt> search 'searchstring'

# setup

Show the settings of the current rtt session.

Platform	The current platform.
ConfigureObject	The rtt configure object for the current session.
DefaultVMSNode	The DECNET-address for a VMS node where crossreference-files,
logging-files etc will be opened.
DescriptionOn	If TRUE the content of the description-attribute will be
diplayed.
DefaultDirectory	The default directory for displaying files with the commands
'directory' and 'show file'.
ScanTime	The rtt scantime for update of pictures, alarmlists etc.
AlarmMessage	If TRUE the last not acknowledged alarm will be displayed in
the message row (row 23).
AlarmReturn	Return events will be shown in the event-list (this must be set
before the eventlist is loaded).
AlarmAck	Acknowledge events will be shown in the event-list (this must
be set before the eventlist is loaded).
SymbolFileName	The name of the symbolfile where symbols can be defined.
Verify	If TRUE the commands executed in commandfiles will be displayed.
SignalTestModeOn	If TRUE the pictures for Do- and Ao-channels will contain
functions to set testvalues.

pwr_rtt> setup

# show

Display information about the system
Allowed qualifiers are:

pwr_rtt> show object /objdid=
pwr_rtt> show object /name= /class= /hierarchy=
pwr_rtt> show object /name= /type= /file=
pwr_rtt> show parameter/parameter= /name= /class= /hierarchy=
pwr_rtt> show hierarchy
pwr_rtt> show class /name= /volume=
pwr_rtt> show signals /name=
pwr_rtt> show conversion [/name=]
pwr_rtt> show invert [/name=]
pwr_rtt> show system
pwr_rtt> show nodes
pwr_rtt> show subcli
pwr_rtt> show subsrv
pwr_rtt> show error
pwr_rtt> show plcpgm
pwr_rtt> show grafcet
pwr_rtt> show device
pwr_rtt> show plcthread
pwr_rtt> show pid
pwr_rtt> show logging
pwr_rtt> show nmps
pwr_rtt> show remnodes
pwr_rtt> show remtrans
pwr_rtt> show time
pwr_rtt> show clock
pwr_rtt> show alarm
pwr_rtt> show event
pwr_rtt> show symbol
pwr_rtt> show user

## show nodes

Display the node known by the nethandler.
Data for the node is:
- node name.
- PAMS/DMQ group number.
- proview node number.
- link (Up: nethandler link, Istrt: PAMS/DMQ link, Down: no link)
- upcount
- Time up. Time since nethanler link was up.
- Sent. Messages sent.
- Rcvd. Messages received.

## show subcli

Display the subscriptions served by other systems.

## show subsrv

Display the served subscriptions.

## show error

Display devices that has an errorcounter greater than zero.

## show plcpgm

Display the plcpgm's of the system.
Supported actions:
RETURN	Go down in the object hierarchy of the plcpgm.
PF1	Show the signals referenced by the plcpgm code.
PF2	Debug the plcpgm.

## show grafcet

Display the plcpgm's containing grafcet sequences.
If the text 'Active' is displayed in front of the plcpgm name the grafcet sequence activity is not in the InitStep.
To monitor grafcet sequences do this:
- mark the plcpgm by positioning the cursor on the plcpgm and press return. Four plcpgm's can be monitored at the same time.
    - Then press PF2 to start the grafcet monitor.
The grafcet monitor shows the active steps and the active orders of the grafcet sequence. (By giving the orders proper names it will be easier to examine the sequence from the monitor).

## show device

Display the device of the system.

## show plcthread

Display the PlcThread objects of the system.
The PlcThread object contains statistic.
The following attributes of the PlcThread objects is displayed:

- Object name.
- Count	Loopcount for the thread.
- Scantime	Configured scantime for the thread.
- Mean Scantime	Mean scantime.
- Coverage	Ratio between start and stop of execution of the thread, and
scantime. The value is in percent.
- Count_1_8	Number of loops where the coverage is less the 1/8
- Count_1_4	Number of loops where the coverage is less the 1/4

## show pid

Display the pid objects of the system.
Select a pid object and press RETURN to open the pid object picture of the pid.

## show logging

Show logging displays the logging entries, and allows you to set parameters for the logging function, start and stop the logging.
Do this steps to create a logging

- put the attributes you want to log in the collections picture. Max number of attributes in eatch entry is 100. Only the 10 first is show in the logging picture. If you want to see all, use the 'More' button.
- display the collection picture at least once
- enter the logging picture
- replace the filename if you aren't satisfied with the default name.
- choose logg type (EVENT or CONT).
- select 'INSERT' and press PF1. The attributes of the collection picture will now be diplayes in the picture.
- select 'START' and press PF1. The logging will now start.
- select 'STOP' when it's time to terminate the logging.
- select 'SHOW FILE' to examine the loggfile.
- the logging setup can be stored on disk with the 'Store' button, and can be restored later with the 'Re' button.
- if another logging is to be don simultaneously, select another logging entry with 'Next' or 'Previous' and start the logging in this entry.

See the logging function for more information

## show nmps

Display the content of the NMps cells in the system.
The following data are shown in the picture:

- Name of the cell.
- Fu: Function of the cell.
- Si: Size. Max number of data objects.
- To: Current number of data objects in the cell.
- Nu: Index of the displayed data object.
- Last name segment of the data object.

Select a cell or a data object with the arrow keys.
RETURN diplays the object picture of the selected cell.
Ctrl/A or PF1 shows the selected data object.
Ctrl/T or PF2 expands/collapses the cell. Show all or the first data objects of the selected cell

In the cell object picture you can examine the content of the cell and set attributes.

## show remnode

Display the RemNode objects.

The following data are shown in the picture:

- Name of the RemNode.
- Transport type.
- Description.

If the 'Change Mode' button i activated (PF1) the Address will be displayed.

## show remtrans

Display the RemTrans objects.

The following data are shown in the picture:

- Name of the RemTrans.
- DataValid.
- Direction (send or receive).
- TransCount, number of transaktions.
- TransTime, the time of the last transaktion.
- ErrorCount, number of errors.
- Status, status of the last transaktion.

## show object

Display information about objects in the database

pwr_rtt> show object /objdid=
pwr_rtt> show object /name= /class= / hierarchy= /global /maxobjects=
pwr_rtt> show object /name= /type= /file= n

Show an object with a specified objid.

pwr_rtt> show object /objdid=

/objid=	displays the object with the specified objid.
Objid should be specified on the format 'A.B.C.D:E'.

Show objects that fits in the class, name and hierarchy description.

pwr_rtt> show object /name= /class= / hierarchy= /global /maxobjects=

/name=	the name of the object. Wildcard is allowed.
The name can be written without '/name='.
Ex pwr_rtt> show object *di*
/class=	displays objects of this class
/hierarchy=	displays objects below this object in the hierarchy.
If no object is given the hierarchy of the current picture
is default (show object /hierarchy).
/global	Search is also perfomed in mounted volumes of remote nodes.
/maxobjects	Max number of objects that will be shown. Default is 300.n

Show an object and interpret the content as a struct specified in a c-includefile.

pwr_rtt> show object /name= /type= /file=

/name=	the name of the object.
/type=	the name of the struct.
/file=	the name of c-includefile where the struct is defined.

## show parameter

Display the value of a parameter of one or many objects
Object that fits in the class, name and hierarchy description are displayed on the screen.

pwr_rtt> show parameter /parameter= /name= /class= /hierarchy= /global	/maxobjects=

/parameter=	the name of the parameter to be displayed
/name=	the name of the object. Wildcard is allowed.
The name can be written without '/name='. Ex show object *di*
/class=	displays objects of this class
/hierarchy=	displays objects below this object in the hierarchy.
If no object is given the hierarchy of the current picture
is default (show object /hierarchy).
/global	Search is also perfomed in mounted volumes of remote nodes.
/maxobjects	Max number of parameters that will be shown. Default is 300.

## show class

Show class definition objects.

Display one class (/name) or all classes in a classvolume (/volume).

pwr_rtt> show class /name=
pwr_rtt> show class /volume=

/name=	name of a class (without pathname).
/volume=	name of a classvolume.

## show hierarchy

Display the root objects in the object hierarchy.

## show signals

Display the signals referenced in a plcpgm or a window.

Allowed qualifiers are:

pwr_rtt> show signals /name= /file=

/name	the name of a plcpgm or a window object. Wildcard is allowed.
If the object is a plcpgm all the signals in the plcpgm are
displayed, if a window all the signals in the window are
displayed.
Default value is the selected object.
/file	Name of the listfile of the plcmodule list.
Default pwrp_lis:pwrp_plcmodulelist.plis.
Example
pwr_rtt> show signals

## show step

Display the active steps on the current node.
Displays all active steps or active steps below an specified object.

Allowed qualifiers are:
pwr_rtt> show step /hierarchy= /initstep

/hierarchy=	displays active steps below this object in the hierarchy.
If no object is given the selected object or the hierarchy
of the current picture is default (show step /hierarchy).
/initstep	The steps and the initsteps are shown. Otherwise only the
steps are shown.
Example
pwr_rtt> show step

## show conversion

Display io conversion of a input channel.
The channel can be specified by name (/name qualifier) or by selecting the channel, or the connected signal.

pwr_rtt> show conversion [/name=]

/name	Name of a channel object, or the connected signal object.

## show invert

Display io invert of a channel.
The channel can be specified by name (/name qualifier) or by selecting the channel, or the connected signal.
pwr_rtt> show invert [/name=]

/name	Name of a channel object, or the connected signal object.

## show file

Show files.
If no filespecification is given, the rtt commandfiles in the default directory is shown.
To show a picture or execute a commandfile, select the picture or file and press RETURN.

pwr_rtt> show file
pwr_rtt> show file *sto*.rtt_com

## show alarm

Show the alarm list.
The same function as 'alarm show'. No qualifier is allowed.

pwr_rtt> show alarm

## show event

Show the event list.
The same function as 'alarm list'. No qualifier is allowed.

pwr_rtt> show event

## show symbol

Show the value of a symbol or show all the defined symbols.

pwr_rtt> show symbol 'symbol_name'
pwr_rtt> show symbol [/all]

## show user

Show the current user with name and privileges.

pwr_rtt> show user

# store

Store a collection picture, a debug picture or the defined symbols in a file.
The format of the file is rtt command file format.
Store symbols.
If no file is specified the symbolfile-name in the rttconfig-object will be used.

pwr_rtt> store /symbols
Store a picture.
The picture store stored in the file /file='filename' will be restored
with the command
pwr_rtt> @'filename'
pwr_rtt> store /file= [/collect]
/file=	filename in which the picture will be stored.
/collect	The picture will be restored in the collection picture.
If omitted the picture will be restored as a debug
picture.

# set

List of set commands:

pwr_rtt> set parameter/name=/value=
pwr_rtt> set pwrp_alias
pwr_rtt> set [no]alarmmessage
pwr_rtt> set [no]alarmbeep
pwr_rtt> set conversion [/name][/on][/off]
pwr_rtt> set invert [/name][/on][/off]
pwr_rtt> set dotest [/name][/on][/off]
pwr_rtt> set testvalue [/name][/on][/off]
pwr_rtt> set clock
pwr_rtt> set time
pwr_rtt> set [no]description
pwr_rtt> set scantime/time=
pwr_rtt> set default
pwr_rtt> set [no]message
pwr_rtt> set [no]draw

## set pwrp_alias

Executes the settings in the file pwrp_alias.dat.

pwr_rtt> set pwrp_alias

## set alarmmessage

Last not acknowledged alarm will be shown in the message line.

pwr_rtt> set alarmmessage

The eventlist has to be loaded.

## set alarmbeep

A sound signal will occur if there is a a not acknowledged alarm.

pwr_rtt> set alarmbeep

The eventlist has to be loaded.

## set parameter

Set the value of a parameter.

pwr_rtt> set parameter/name=/value=

/name	full name of parameter ('objectname'.'parametername')
/value	the new value of the parameter.

Example
pwr_rtt> set par/name=sh-fsdn-motorstart.actualvalue/value=1

## set conversion

Set io conversion of a input channel.
The channel can be specified by name (/name qualifier) or by selecting the channel, or the connected signal.

pwr_rtt> set conversion /on [/name=] [/on] [/off]
pwr_rtt> set conversion /off [/name=] [/on] [/off]

/name	Name of a channel object, or the connected signal object.
/on	Set conversion on.
/off	Set conversion off.

## set invert

Set io invert of a channel.
The channel can be specified by name (/name qualifier) or by selecting the channel, or the connected signal.

pwr_rtt> set invert /on [/name=]
pwr_rtt> set invert /off [/name=]

/name	Name of a channel object, or the connected signal object.
/on	Set invert on.
/off	Set invert off.

## set dotest

Set io test on a do channel.
The value of the do will be fetched from the do testvalue, witch can be set
or reset by the 'set testvalue' command
The channel can be specified by name (/name qualifier) or by selecting
the channel, or the connected signal.

pwr_rtt> set dotest /on [/name=]
pwr_rtt> set dotest /off [/name=]

/name	Name of a channel object, or the connected signal object.
/on	Set dotest on.
/off	Set dotest off.

## set testvalue

Set testvalue on a do channel.
The testvalue will be set as output if the dotest is on (use the 'set dotest'
command)
The channel can be specified by name (/name qualifier) or by selecting
the channel, or the connected signal.

pwr_rtt> set dotest /on [/name=]
pwr_rtt> set dotest /off [/name=]

/name	Name of a channel object, or the connected signal object.
/on	Set testvalue to true on.
/off	Set testvalue to false.

## set description

Display or hide the description attribute in the object hierarchy.
If description mode is set off, the name and class of an object will be displayed. If description is set on, the description attribute of the object will also be displayed if there is one.
The action will only affect new hierarchy-pictures, not the already created.

pwr_rtt> set description display description.
pwr_rtt> set nodescription hide description.
## set file

All print commands, where a file is not specified, will be written to the file specified in the 'set file/on' command. Also messages and command will be written to the file.

/on	Start of set file session.
 /off	Stop the file session.
/name	File specification.
/message	Rtt messages will be written to the file.
/command	Executed rtt commands will be written to the file.

Example
set file/on/name=”$pwrp_lis/set_file_example.txt”/message/command
print/text="Start of set file example..."
...
set file/off
quit

## set scan

Set the scan time of rtt. This is the time rtt will update a picture, scan the alarmlist etc.
Time in seconds.

pwr_rtt> set scan/time=

## set default

Set the default directory for displaying files with the 'show file' and
the 'directory' commands.
pwr_rtt> set default 'directory'

## set message

Enable and disable of rtt messages.
Termination of commandfile mode will always enable rtt messages.

pwr_rtt> set message
pwr_rtt> set nomessage

## set draw

Display result of the actions performed in a script on the screen.
The normal condition when executing a script is that nothing is displayed on the screen until the script is terminated. Then the current picture is redrawn. With 'set draw' command, all actions will be displayed on the screen as if they were preformed in an interactive mode. 'set draw' will also supress
the redrawing of the picture when at termination of the script.

'set nodraw' will return to the concealed mode.

set draw
set nodraw

# top

Display the first page and select the first item.

pwr_rtt> top

# view

Show the content of a text-file.

pwr_rtt> view /file='filespec'
# wait

Wait a specified time or until the plc program is started.
This command is for rtt command files.

pwr_rtt> wait /plcpgm
pwr_rtt> wait /time=

/time	Time in seconds.
/plcpgm	Wait until the plcprogram is loaded and initalized.

Example

wait /plcpgm
set parameter/parameter=sh-fsdn-börv_varvtal.actualvalue/value=5
exit

# Script

A script-file will be executed from the command-line with the command
pwr_rtt> @'filename'n
For more information about the rtt script syntax use command 'HELP SCRIPT'