Release Notes V4.7

09 07 03 cs

Copyright SSAB Oxelösund AB 2009

Permission is granted to copy, distribute and/or modify this document
      under the terms of the GNU Free Documentation License, Version 1.2
      or any later version published by the Free Software Foundation;
      with no Invariant Sections, no Front-Cover Texts, and no Back-Cover Texts.

# Upgrading to Proview V4.7.0
This document describes new functions i Proview V4.7.0, and how to upgrade a project from V4.6.1 to V4.7.0.

# New functions
## Project directories
The directory structure of a Proview project is changed.
A project is separated into two trees, a build tree under bld and source files under src.
## Profinet
## Operator window

- A status bar with system status indication for supervised nodes.
- A Functions menu to open alarm and event windows, curves, process graph etc.
- Xtt command 'create opmenuitem' to create new items in the menu.
- Number of function button increased from 15 to 25.
- Possibility to show alarm time.
- Configuration of for which events the operator window should be popped.
- Configuraton of language, closebutton etc in OpPlace object.

## Ge action SetValue
New Ge action to set a specified value into an attribute.
## Loadfile format
The loadfile format is changed (.dbs files), and not compatible with loadfile format i V4.6 and previous versions. Dbs-files of these versions can not be opened from the configurator (File/Open/Dbs file).
## Linux 64
Proview 4.7 is ported to 64 bit linux and distributed in one 32 bit and one 64 bit version.
### Mixed development environment
You can have a mixed development environment with both 32 bit and 64 bit linux machines and with a common database server. There are though some restrictions.
A BerkeleyDb database created on a 32 bit platform can not be opened on a 64 bit platform, and vice versa. A mysql database though, can be opened on both platforms.
A 32-bit system has to be built on a 32-bit platform, and a 64-bit system has to be built on a 64-bit platform. Classvolumes though, and the loadfile format, are platform independent.
### Mixed runtime environment
There are no restictions in the runtime environment. Systems of different platforms can communicate without problems. If there are some application communication, keep in mind that the alignment of c data structures can differ between the platforms.
## Directory volume database changed
The directory volume, previously stored in a BerkeleyDb database, is now stored as a wb_load file. That is $pwrp_db/directory.db is replace by $pwrp_db/directory.wb_load.
## Definition of pointer attribute size
For pointer attributes that are not private, the size of the pointed entity has to be stated in the Size element of the $Attribute object defining the attribute.
## Including external includefiles in the plc program
The environment variable PWR_EXT_INC can be used to define directories where include files included in the plc program are stored. If you, for example, has a common directory where you store includefiles that specify transactions, /usr/local/myinclude, the compiler will find these files by defining PWR_EXT_INC with the command
export PWR_EXE_INC=”-I /usr/local/myinclude”
## Xtt commands
### set attribute /bypass
/bypass qualifier is removed in the 'set attribute' command for security reasons. When used in Ge graphs, it should be replaced by the SetAtribute dynamic.
### create opmenuitem
New command to add menu items to the operator window menu.
### delete opmenuitem
Command to remove menu items from the operator window menu.
### show objectlist
New command that views a listbox with objects of a specified class. From the listbox the object graph for an object can be opened.
# Changed Types
### pwr_tTime, pwr_tDeltaTime
pwr_tTime and pwr_tDeltaTime are changed from a struct with two 32 bit words, to a struct with two 64 bit words.
Note that pwr_tTime and pwr_tDeltaTime previously was a struct timespec and could be used directly in time functions as clock_gettime, nanosleep etc. This is still the case in 64 bit linux, but not in 32 bit linux. In 32 bit linux there has to be a conversion. Instead of clock_gettime, pwr_GetTime can be used, which has a pwr_tTime as argument.
# New Classes
### PnControllerSoftingPNAK
I/O Agent object configuring the Sofing profnet stack.
### PnDevice
I/O object configuring a Profinet device.
### PnModule
I/O object configuring a Profinet module.
# Modified Classes
### OpPlace
A number of attributes removed removed that was used for the old GMS operator place and not used any more. New attributes added for layout etc. Some attributes moved from the User object, UserName, FastAvail, (Event)SelectList, MaxNoOfAlarms and MaxNoOfEvents.
### WebHandler
SelectList, MaxNoOfAlarms and MaxNoOfEvents moved from User object.
### NodeLinkSup
Attribute SystemStatus added. It contains the system status of the supervised node.
# Obsolete Classes
### User
Not used any more, remains for smooth upgradeing.
### RttConfig
Replaced by an OpPlace object named OpDefault.
# Upgrade procedure
The upgrading has to be done from any version in the interval V4.2.0 – V4.4.4. If the project has a lower version, the upgrade has to be performed stepwise following the schema
V2.1 -> V2.7b -> V3.3 -> V3.4b -> V4.0.0 -> V4.1.3 ->V4.2.0->V4.5.0
The upgrade procedure is to change the version of the project in the projectlist, and then execute the script upgrade.sh.
NOTE !!
Do not activate Update Classes.

If the previous version should be kept, first make a copy of the project.
## Make a copy of the project
Do sdf to the project and start the administrator
> pwra
Now the Projectlist is opened. Enter edit mode, login as administrator if you lack access. Find the current project and select Copy Project from the popup menu of the ProjectReg object. Open the copy and assign a suitable project name and path. Change the version to V4.5.0. Save and close the administrator.
## upgrade.sh
Do sdf to the project.
upgrade.sh is a script that is divided into a number of passes. After each pass you you have to answere
whether to continue with the next pass or not.
Start the script with

> upgrade.sh

and go through all the passes.
#### dumpdb
Creates a dump file for each volume in the project. The name of the dumpfile is
$pwrp_db/'volumename'.wb_dmp

NB ! The dump has to be done with V4.4 dump program
#### classvolumes
Create loadfiles and structfiles for the class volumes.
#### renamedb
Store the old databases under the name $pwrp_db/'volumename'.db.1.
#### dirvolume
Create a directory database and load the dumpfile for the project volume into the database.
#### loaddb
Create databases and load the dumpfiles into them.
#### Cnvobjects
Remove User-objects and move the content of FastAvail and SelectList to the corresponding OpPlace or WebHandler object. Replace RttConfig with an OpPlace object named OpDefault.
#### compile
Compile all the plc programs.
#### createload
Create loadfiles for the root volumes.
#### createboot
Create bootfiles for all nodes in the project.
If the project contains any application programs, these has to be built manually.
Delete files from the upgrading procedure:
$pwrp_db/*.wb_dmp.*
$pwrp_db/*.db.1 (old databases, directories which content also should be removed)